## 2-SITE
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  | 0 |  | (SR) | (SR)
02 SITE CONSTRUCTION
The Contractor is referred to the specifications and drawings for all details related to the works of this division and he is to include for complying with all the requirements contained therein, whether or not they are specifically mentioned within the i
02300 EXCAVATION
NOTE: Excavation quantities are based on the assumption that rock layers are found at a depth less than 1.25 m from the natural ground level.
A | Mat Foundations | 715 | m3 |  | 0
0
B | Isolated Footings | 470 | m3 |  | 0
0
C | Grade Beams | 83 | m3 |  | 0
0
| 02300 FILLING |  |  |  | 0
0
D | Compacted replacement granual material fill | 1321 | m3 |  | 0
02 SITE CONSTRUCTION
| To Building Summary | S.R |  |  | 0

## 3-Concrete
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  | 0 |  | SR | SR
03 CONCRETE WORK
The Contractor is referred to the specifications and drawings for all details related to the works of this division and he is to include for complying with all the requirements contained therein, whether or not they are specifically mentioned within the items
03300 CAST IN PLACE CONCRETE
Blinding 11 Mpa, , using Ordinary Portland Cement, including all necessary formwork, in accordance with specifications and drawings
A | Under mat foundations, 75 mm thick | 30 | m3 |  | 0
0
B | Under isolated footings, 75 mm thick | 35 | m3 |  | 0
0
C | Under grade beams, 50 mm thick | 7 | m3 |  | 0
0
0
| Reinforced concrete 24 Mpa, using Ordinary Portland Cement, including all necessary formwork, reinforcement, contraction, isolation and construction joints, additives, etc, in accordance with specifications and drawings |  |  |  | 0
0
D | Slab on grade including channels, pits for buildings without transformer unit | 1084 | m3 |  | 0
|  | To Collection |  |  | 0
Reinforced concrete 30 Mpa, using Ordinary Portland Cement, including all necessary formwork, reinforcement, construction joints, additives, etc. in accordance with specifications and drawings
A | Isolated Footings | 175 | m3 |  | 0
0
B | Grade Beams | 73 | m3 |  | 0
0
C | Mat foundations | 175 | m3 |  | 0
0
D | Water tank walls | 55 | m3 |  | 0
0
E | Water tank top slab | 53 | m3 |  | 0
0
F | Slabs | 686 | m3 |  | 0
0
G | Filler block slabs | 2415 | m2 |  | 0
0
H | Drop beams | 183 | m3 |  | 0
0
I | Columns | 250 | m3 |  | 0
0
J | Cores | 60 | m3 |  | 0
0
K | Stairs | 29 | m3 |  | 0
0
| Self-expanding water stops for: |  |  |  | 0
0
L | Water tank walls | 90 | m |  | 0
|  | To Collection |  |  | 0
Precast concrete shaft capping per the architectural drawings, made with reinforced concrete 30 Mpa, using Ordinary Portland Cement, including all necessary formwork, reinforcement, etc. in accordance with the specifications and drawings
A | 60mm thick capping of dimensions 700x1750 mm, divided into panels per architectural details | 4 | Nr |  | 0
0
B | 60mm thick capping of dimensions 850x1000 mm, divided into panels per architectural details | 4 | Nr |  | 0
0
C | 60mm thick capping of dimensions 750x850 mm, divided into panels per architectural details | 4 | Nr |  | 0
0
D | 60mm thick capping of dimensions 950x850 mm, divided into panels per architectural details | 4 | Nr |  | 0
0
E | 60mm thick capping of dimensions 950x1000 mm, divided into panels per architectural details | 4 | Nr |  | 0
0
| Vapor Barrier (Polyethylene sheet 0.5mm thick) |  |  |  | 0
0
F | Under slab on grade | 1084 | m2 |  | 0
03544 CEMENT-BASED SCREED
Cement-sand screed, to receive flixable finish, as Drg. A/024; detail 1; to
A | Roofs | 1306 | m2 |  | 0
0
| Cement - sand screed; light weight; foamed; to receive flexible finish; as Drg. A/023; detail 4; to |  |  |  | 0
0
B | Exposed balconies | 30 | m2 |  | 0
0
| Cement-sand screed with hardner; to |  |  |  | 0
0
C | Floors | 22 | m2 |  | 0
|  | To Collection |  |  | 0
03 CONCRETE WORK
| To Building Summary | S.R. |  |  | 0

## 4-Masonry
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  | 0 |  | SR | SR
04 MASONRY
04810 UNIT MASONRY ASSEMBLIES
Concrete blocks; hollow; to
A | Walls; 100 thick | 120 | m2 |  | 0
0
B | Walls; 150 thick | 493 | m2 |  | 0
0
C | Walls; 200 thick | 1843 | m2 |  | 0
0
D | Walls; 200 thick; to external walls | 400 | m2 |  | 0
0
| Concrete blocks; solid; to |  |  |  | 0
0
E | Walls; 100 thick | 21 | m2 |  | 0
0
F | Walls; 150 thick | 203 | m2 |  | 0
0
G | Walls; 200 thick | 500 | m2 |  | 0
0
H | Walls; 200 thick; to external walls | 131 | m2 |  | 0
0
| 04851 DIMENSION STONE CLADDING |  |  |  | 0
0
| Rough red granite, cladding including fixation; to |  |  |  | 0
0
I | Base, external, 300 high | 4 | m |  | 0
0
J | Base, external, 450 high | 80 | m |  | 0
0
| Local marble cladding including fixing; to |  |  |  | 0
0
K | Soffits at top of columns; as Drg. A/013 and A/015 | 54 | m2 |  | 0
0
L | Isolated columns; with base and head, 3890 high overall; as Drg. A/010 | 8 | Nr |  | 0
04 MASONRY
| To Building Summary | S.R. |  |  | 0

## 5-Metals
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  | 0 |  | SR | SR
05 METALS
05500 METAL FABRICATIONS
Ladders; steel; including top loop; fixings and paint; as Drg. A/024; detail 13
A | 3200 effective height | 1 | Nr |  | 0
0
| Floor access hatch, galvanized steel plate, including; angle frames, handle; marble tiles and fixings, as Drg A/023; detail 11; to |  |  |  | 0
0
B | Floors; size 600 x 600 | 1 | Nr |  | 0
0
C | Floors; size 800 x 800 | 1 | Nr |  | 0
0
| Pergolas; steel hollow sections; including posts; fixings and paint; as Drg. A/025; detail 1 |  |  |  | 0
0
D | Type A, 10000 long; 2360 high | 5 | Nr |  | 0
0
| Extruded aluminum saddle |  |  |  | 0
0
E | Type B | 5 | m |  | 0
0
| 05720 ORNAMENTAL HANDRAILS AND RAILINGS |  |  |  | 0
0
| Balustrades; steel; decorative; including wood top rail; fixings and paint; as Drg. A/017, detail 3 |  |  |  | 0
0
F | 1045 high | 12 | m |  | 0
0
G | 1045 high; raking | 50 | m |  | 0
|  | To Collection |  |  | 0
Balustrades; steel; decorative; including aluminium top rail; fixings and paint; as Drg. A/024, detail 10
A | 850 high | 134 | m |  | 0
0
| Balustrades; including fixings and finish; as Drg. A/014; to |  |  |  | 0
0
B | Entrance ramp; 900 high; raking | 7 | m |  | 0
0
| 05811 ARCHITECTURAL JOINT SYSTEMS |  |  |  | 0
0
| Designed expansion joints; as Drg. A/024, detail 2; to |  |  |  | 0
0
C | Roofs; including flashing | 1 | Item |  | 0
|  | To Collection |  |  | 0
COLLECTION
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
05 METALS
| To T6 Building Summary | S.R. |  |  | 0

## 7-Thermal
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  | 0 |  | SR | SR
07 THERMAL AND MOISTURE PROTECTION
07115 BITUMINOUS DAMPROOFING
Bituminous coating, two coats, cold applied
A | Isolated Foundations | 600 | m2 |  | 0
0
B | Columns and Cores | 218 | m2 |  | 0
0
C | Grad Beams | 551 | m2 |  | 0
0
| 07135 APP. MODIFIED BITUMINOUS SHEET WATERPROOFING |  |  |  | 0
0
D | Bottom of Water tank mat foundation | 291 | m2 |  | 0
0
E | Vertical sides of Water tank mat foundation and walls of tank | 252 | m2 |  | 0
0
| 07141 COLD FLUID-APPLIED WATERPROOFING |  |  |  | 0
0
| Cold-fluid-applied; membrane-forming rubberized bitumen-based emulsion waterproofing; including skirtings; to |  |  |  | 0
0
F | Wet areas | 820 | m2 |  | 0
0
G | Terraces | 30 | m2 |  | 0
|  | To Collection |  |  | 0
07162 CRYSTALLINE WATER PROOFING OR
07161 MODIFIED CEMENT WATER PROOFING
Crystalline water proofing or Modified cement water proofing
A | Walls of tank and columns inside tank | 230 | m2 |  | 0
0
B | Floor of tank | 188 | m2 |  | 0
0
C | Slab of tank | 188 | m2 |  | 0
0
| 07551 APP-MODIFIED BITUMINOUS MEMBRANE ROOFING |  |  |  | 0
0
| APP-modified bituminous waterproofing membrane, including fixing; as Drg. A/024, detail 1; to |  |  |  | 0
0
D | Roofs | 1306 | m2 |  | 0
0
E | Skirtings; 450 girth approximate | 669 | m |  | 0
0
| Separation and protection layer; to |  |  |  | 0
0
F | Roofs | 1306 | m2 |  | 0
0
| Ultra violet protection, to |  |  |  | 0
0
G | Roofs | 129 | m2 |  | 0
0
| Insulation; extruded polystyrene board; to |  |  |  | 0
0
H | Roofs; 50 thick | 1306 | m2 |  | 0
|  | To Collection |  |  | 0
Protective covering ballast; to
A | Roofs; 50 thick | 1280 | m2 |  | 0
0
B | Roofs; 100 thick | 1 | m2 |  | 0
0
| 07720 ROOF ACCESSORIES |  |  |  | 0
0
| Aluminium roof accessories |  |  |  | 0
0
C | Pressure plate | 646 | m |  | 0
|  | To Collection |  |  | 0
COLLECTION
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
07 THERMAL AND MOISTURE PROTECTION
| To Building Summary |  | S.R. |  | 0

## 8-Doors
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  | 0 |  | SR | SR
08 DOORS AND WINDOWS
08114 CASTUM STEEL DOORS AND FRAMES
Doors; flush steel; hollow core; including frame; insulation; fixing; and paint; as Drg. A/019
A | Type D10 | 1 | Nr |  | 0
0
B | Type D12 | 2 | Nr |  | 0
0
| Doors; flush steel; hollow core; 45 minutes fire rated; including frame; insulation; fixing and paint; as Drg. A/019 |  |  |  | 0
0
C | Type D11 | 3 | Nr |  | 0
0
| Louvered doors; steel; including frame; fixing and paint; as Drg. A/019 |  |  |  | 0
0
D | Type D9 | 1 | Nr |  | 0
0
| 08121 ALUMINIUM SWING DOORS |  |  |  | 0
0
| Doors, extruded aluminium alloy, clear anodized finish; including frames, subframes, hardware sets; accessories, glazing, glazing beads; gaskets and fixings; as Drg. A/019 |  |  |  | 0
0
E | Type W5 | 19 | Nr |  | 0
0
F | Type W6; with side fixed panels | 1 | Nr |  | 0
0
G | Type W7 | 8 | Nr |  | 0
0
H | Type W8 | 1 | Nr |  | 0
|  | To Collection |  |  | 0
08211 FLUSH WOOD DOORS
Doors; flush wood; semi solid core; including frame; fixing and paint; as drg. A/019
A | Type D1 | 161 | Nr |  | 0
0
B | Type D4 | 24 | Nr |  | 0
0
C | Type D6 | 7 | Nr |  | 0
0
| Doors; flush wood; semi solid core; plastic laminated; including frame; glazing fixing and paint; as Drg. A/019 |  |  |  | 0
0
D | Type D2; with vision panel | 99 | Nr |  | 0
0
| Doors; flush wood; solid core; 20 minutes fire rated; veneered both sides including frame; fixing and paint; as Drg. A/019 |  |  |  | 0
0
E | Type D3 | 25 | Nr |  | 0
0
| Doors, flush wood; solid core; 60 minutes fire rated, veneered both sides; including frame; fixing and paint; as Drg. A/019 |  |  |  | 0
0
F | Type D5 | 9 | Nr |  | 0
0
| Electrical closet doors, wood; including frames, ironmongery, fixing and paint, as Drg. A/023; detail 6 |  |  |  | 0
0
G | Type 600 x 1550 | 9 | Nr |  | 0
|  | To Collection |  |  | 0
08331 OVERHEAD COILING DOORS
Rolling grilles; galvanized steel; including overhead box; side tracks; rubber gaskets; all necessary accessories; fixings and paint; as Drg. A/024, detail 16
A | Rolling shutters | 125 | m2 |  | 0
08520 ALUMINIUM WINDOWS
Windows, extruded aluminium alloy, clear anodized finish; including frames, subframes, fly screens, glazing, hardwaer sets, accessories glazing beads; gaskets and fixings; as Drg A/019
B | Type W1 | 48 | Nr |  | 0
0
C | Type W1A | 40 | Nr |  | 0
0
D | Type W2; pivot | 99 | Nr |  | 0
0
E | Type W3; sliding | 82 | Nr |  | 0
0
F | Type W4; sliding | 10 | Nr |  | 0
To Collection
0
| 08711 DOORS HARDWARE |  |  |  | 0
0
| Hardware sets and ironmongery; stainless steel as Drg. A/015 |  |  |  | 0
0
G | Type HW1 | 192 | Nr |  | 0
0
H | Type HW2 | 99 | Nr |  | 0
0
I | Type HW3, fire rated | 25 | Nr |  | 0
0
J | Type HW4, fire rated | 9 | Nr |  | 0
|  | To Collection |  |  | 0
A | Type HW6 | 2 | Nr |  | 0
0
B | Type HW6, fire rated | 3 | Nr |  | 0
0
C | Type HW8 | 1 | Nr |  | 0
0
D | Type HW9 | 2 | Nr |  | 0
|  | To Collection |  |  | 0
COLLECTION
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
08 DOORS AND WINDOWS
| To Building Summary | S.R. |  |  | 0

## 9-Finishes
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Quantity | Unit | Rate | Amount
|  | 0 |  | 0
S.R.
09 FINISHES
| 09220 PORTLAND CEMENT PLASTER |  |  |  | 0
Portland cement plaster on and including metal lath; and fixing system; to
A | Drop side surfaces; decorative | 21 | m2 |  | 0
0
B | Drop side surfaces; decorative, curved | 53 | m2 |  | 0
0
| Portland cement plaster, finished as specified; to |  |  |  | 0
0
C | Walls, 15 thick | 9200 | m2 |  | 0
0
D | Walls; 20 thick; scratched; external | 3660 | m2 |  | 0
0
E | Walls; 20 thick; scratched and decorative, external | 406 | m2 |  | 0
0
F | Ceilings, 15 thick | 3354 | m2 |  | 0
0
G | Ceilings, 15 thick, sloping | 57 | m2 |  | 0
0
H | Soffits, 20 thick; smooth | 116 | m2 |  | 0
0
I | Isolated beams; 20 thick, decorative | 47 | m2 |  | 0
0
J | Isolated columns, 15 thick | 18 | m2 |  | 0
0
K | Isolated columns; 20 thick, decorative | 14 | m2 |  | 0
0
L | Opening surrounding and projections; 20 thick; external | 147 | m2 |  | 0
0
M | Cornices; 300 overall width; scratched; as Drg A/024; detail 7; external | 150 | m |  | 0
|  | To Collection |  |  | 0
09310 CERAMIC TILE
Imported ceramic tiles and fittings; including sand bedding and backing mortar; to
A | Floors | 2420 | m2 |  | 0
0
B | Skirting; 80 high | 2660 | m |  | 0
0
| Local ceramic tiles and fittings; including sand bedding and backing mortar; to |  |  |  | 0
0
C | Floors | 656 | m2 |  | 0
0
D | Base | 215 | m |  | 0
0
| Local ceramic tiles and fittings, including backing and fixing; to |  |  |  | 0
0
E | Walls | 2569 | m2 |  | 0
0
| 09421 PRECAST TERRAZZO |  |  |  | 0
0
| Terrazzo tiles and fittings, including sand bedding and backing mortar; to |  |  |  | 0
0
F | Floors | 26 | m2 |  | 0
0
G | Roofs | 26 | m2 |  | 0
0
H | Skirtings; 80 high | 54 | m |  | 0
0
I | Skirtings at roof | 23 | m |  | 0
0
| 09511/09512 ACOUSTICAL PANEL/TILE CEILINGS |  |  |  | 0
0
| Lay in acoustical tiles, suspended ceiling; including suspension system; to |  |  |  | 0
0
J | Ceilings; 600 x 600 | 141 | m2 |  | 0
|  | To Collection |  |  | 0
09600 STONE PAVING AND FLOORING
Marble tiles and fittings, including bedding; to
A | Floors | 332 | m2 |  | 0
0
B | Ramps | 35 | m2 |  | 0
0
C | Treads; at entrance | 62 | m |  | 0
0
D | Treads of stairs | 177 | m |  | 0
0
E | Risers | 244 | m |  | 0
0
F | Skirtings; 80 high | 284 | m |  | 0
0
G | Strings | 50 | m |  | 0
0
H | Saddle, type A | 125 | m |  | 0
0
I | Saddle, type C | 1 | m |  | 0
09751 INTERIOR STONE FACING
Local marble cladding including backing mortar, to
J | Walls | 216 | m2 |  | 0
0
K | Isolated columns; curved | 16 | m2 |  | 0
0
| 09911 PAINTING |  |  |  | 0
0
| Acrylic emulsion paint; to concrete, masonry and plaster; to |  |  |  | 0
0
L | General surfaces | 12439 | m2 |  | 0
|  | To Collection |  |  | 0
Oil paint; to concrete; masonry, and plaster; to
A | General surfaces | 1970 | m2 |  | 0
|  | To Collection |  |  | 0
COLLECTION
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
09 FINISHES
| To Building Summary | S.R. |  |  | 0

## 10-Specialities
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  | 0 |  | SR | SR
10 SPECIALITIES
10200 LOUVERS AND VENTS
Aluminium louvers; as Drg. A/025; detail 5
A | Size 2400 x 1000 | 1 | Nr |  | 0
10 SPECIALITIES
| To Building Summary | S.R. |  |  | 0

## 13-Fire fighting
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  |  |  | SR | SR
13 SPECIAL CONSTRUCTION
13851 FIRE ALARM
Main fire alarm cabinet
A | Main fire alarm cabinet (MFAC) | 1 | Nr |  | 0
0
| Alarm initiating devices |  |  |  | 0
0
B | Manual fire alarm station | 20 | Nr |  | 0
0
C | Optical smoke detector | 50 | Nr |  | 0
0
D | Optical smoke detector with sounder base | 26 | Nr |  | 0
0
E | Heat detector | 2 | Nr |  | 0
0
| Alarm and sundry devices |  |  |  | 0
0
F | Alarm bell | 15 | Nr |  | 0
0
G | Horn type H1 | 1 | Nr |  | 0
0
H | End-of-line device | 20 | Nr |  | 0
0
| Spare parts, tools and instruments |  |  |  | 0
0
I | Set of spare parts, tools and instruments | 1 | Item |  | 0
0
| 13915 FIRE SUPPRESSION PIPING |  |  |  | 0
0
| Standpipes |  |  |  | 0
0
| Black Steel Pipes and fittings |  |  |  | 0
0
J | 25 dn | 41 | m |  | 0
0
K | 50 dn | 35 | m |  | 0
0
L | 65 dn | 84 | m |  | 0
|  | To Collection |  |  | 0
A | 80 dn | 151 | m |  | 0
0
B | 100 dn | 60 | m |  | 0
0
C | 125 dn | 12 | m |  | 0
0
D | 150 dn | 58 | m |  | 0
0
| Valves |  |  |  | 0
0
E | Gate valves, 150 dn | 2 | Nr |  | 0
0
F | Drain valves, 75 dn | 2 | Nr |  | 0
0
G | Drain valves, 110 dn | 2 | Nr |  | 0
0
H | Test and drain valves, 150 dn | 1 | Nr |  | 0
0
I | Check Valve, 150 dn | 1 | Nr |  | 0
0
J | Zone Valve, 125 dn | 1 | Nr |  | 0
0
| Fire Hose Connection |  |  |  | 0
0
K | Type FHCN | 9 | Nr |  | 0
0
| Fire Department Connections |  |  |  | 0
0
L | Siamese 150 dn | 1 | Nr |  | 0
0
M | Pressure gages | 1 | Item |  | 0
0
| Fire hose cabinet |  |  |  | 0
0
N | Type FHC-1 | 14 | Nr |  | 0
0
| Sprinklers |  |  |  | 0
0
O | PENDENT SP-2 | 10 | Nr |  | 0
|  | To Collection |  |  | 0
Portable fire extinguisher
A | Type FE-1 | 19 | Nr |  | 0
0
B | Type FE-2 | 3 | Nr |  | 0
0
| 13922 FIRE PUMPS |  |  |  | 0
0
C | Type FP-1 | 1 | Nr |  | 0
0
D | Type FP-2 | 1 | Nr |  | 0
0
E | Type JP-1 | 1 | Nr |  | 0
|  | To Collection |  |  | 0
COLLECTION
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
13 SPECIAL CONSTRUCTION
| To Building Summary | S.R. |  |  | 0

## 14-Conv
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  |  |  | SR | SR
14 CONVEYING SYSTEMS
14210 ELECTRIC TRACTION ELEVATORS
Passenger lifts
A | Reference; E1, 450 kg. 1 m/s | 1 | Nr |  | 0
0
B | Reference; E2, 450 kg. 1 m/s | 1 | Nr |  | 0
0
C | Reference; E3, 450 kg. 1 m/s | 1 | Nr |  | 0
0
D | Reference; E4, 450 kg. 1 m/s | 1 | Nr |  | 0
14 CONVEYING SYSTEMS
| To Building Summary | S.R. |  |  | 0

## 15-MECH
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  |  |  | SR | SR
15 MECHANICAL
15411 WATER DISTRIBUTION PIPING
Domestic Cold Water Piping
PVC Pipes and fittings
A | 15 dn | 750 | m |  | 0
0
B | 20 dn | 185 | m |  | 0
0
C | 25 dn | 270 | m |  | 0
0
D | 32 dn | 500 | m |  | 0
0
E | 40 dn | 20 | m |  | 0
0
F | 50 dn | 55 | m |  | 0
0
G | 65 dn | 110 | m |  | 0
0
H | 80 dn | 120 | m |  | 0
0
I | 110 dn | 35 | m |  | 0
0
| Ball Valves |  |  |  | 0
0
J | 15 dn | 1 | Nr |  | 0
0
K | 25 dn | 50 | Nr |  | 0
0
L | 32 dn | 59 | Nr |  | 0
0
| Gate Valves |  |  |  | 0
0
M | 80 dn | 3 | Nr |  | 0
0
N | 100 dn | 3 | Nr |  | 0
|  | To Collection |  |  | 0
Drain Valves
A | 25 dn | 12 | Nr |  | 0
0
| Domestic Hot Water Piping |  |  |  | 0
0
| CPVC Pipes and fittings |  |  |  | 0
0
B | 15 dn | 425 | m |  | 0
0
C | 20 dn | 310 | m |  | 0
0
| 15420 - DRAINAGE AND VENT PIPING |  |  |  | 0
0
| Under ground. uPVC drain pipes |  |  |  | 0
0
D | 50 dn | 16 | m |  | 0
0
E | 82 dn | 82 | m |  | 0
0
F | 110 dn | 158 | m |  | 0
0
G | 125 dn | 35 | m |  | 0
0
H | 200 dn | 23 | m |  | 0
0
| Above ground uPVC drain pipes |  |  |  | 0
0
I | 50 dn | 597 | m |  | 0
0
J | 82 dn | 164 | m |  | 0
0
K | 110 dn | 207 | m |  | 0
0
| uPVC vent pipes |  |  |  | 0
0
L | 50 dn | 38 | m |  | 0
0
M | 65 dn | 58 | m |  | 0
0
N | 82 dn | 13 | m |  | 0
|  | To Collection |  |  | 0
A | 110 dn | 14 | m |  | 0
0
| uPVC Rain Water Pipe (Under Ground) |  |  |  | 0
0
B | 125 dn | 18 | m |  | 0
0
C | 160 dn | 22 | m |  | 0
0
D | 200 dn | 30 | m |  | 0
0
| uPVC Rain Water Pipe (Above Ground) |  |  |  | 0
0
E | 50 dn | 62 | m |  | 0
0
F | 82 dn | 39 | m |  | 0
0
G | 110 dn | 96 | m | 50 | 4800
0
| 15430 - PLUMBING SPECIALITIES |  |  |  | 0
0
H | Roof drains |  |  |  | 0
0
I | Type RD-1, 50 dn | 21 | Nr | 200 | 4200
0
J | Type RD-1, 82 dn | 8 | Nr | 220 | 1760
0
K | Type RD-1, 110 dn | 5 | Nr | 230 | 1150
0
| Floor drains |  |  |  | 0
0
L | Type FD-1, 82 dn | 131 | Nr | 320 | 41920
0
| Floor cleanouts |  |  |  | 0
0
M | Type FCO; 50 dn | 2 | Nr | 300 | 600
0
N | Type FCO; 80 dn | 1 | Nr | 320 | 320
0
O | Type FCO; 110 dn | 9 | Nr | 330 | 2970
0
P | Type FCO; 125 dn | 1 |  | 350 | 350
|  | To Collection |  |  | 58070
A | Type FCO; 150 dn | 1 |  | 400 | 400
0
B | Type FCO; 200 dn | 1 |  | 450 | 450
0
| Roof vent cap |  |  |  | 0
0
C | Type RVC; 82 dn | 24 | Nr | 150 | 3600
0
D | Type RVC; 110 dn | 20 | Nr | 160 | 3200
0
| Air Vent |  |  |  | 0
0
E | Type AV; 20 dn | 12 | Nr | 80 | 960
0
| Inspection Chambers |  |  |  | 0
0
F | IC | 4 | Nr | 150 | 600
0
G | Galley Trap | 2 | Nr | 200 | 400
0
H | Valve box with water meter, 50 dn | 1 | Nr | 500 | 500
0
| 15440 - PLUMBING FIXTURES |  |  |  | 0
0
| Water closets |  |  |  | 0
0
I | EWC-1 | 99 | Nr | 580 | 57420
0
| Lavatories |  |  |  | 0
0
J | LAV-1 | 99 | Nr | 720 | 71280
0
| Bidet |  |  |  | 0
0
K | BD-1 | 24 | Nr | 750 | 18000
0
| Shower Head |  |  |  | 0
0
L | Type SHH-1 | 25 | Nr | 180 | 4500
|  | To Collection |  |  | 161310
Bathtub
A | Type BT-1 | 49 | Nr | 550 | 26950
0
| Miscellaneous fixtures & fittings |  |  |  | 0
0
B | Hose bib | 4 | Nr | 200 | 800
0
| 15441 WATER DISTRBUTION PUMPS |  |  |  | 0
0
C | Type PP-1 | 1 | Nr | 18000 | 18000
0
| 15444 PACKAGED BOOSTER PUMPS |  |  |  | 0
0
D | Type PP-2 | 1 | Nr | 4800 | 4800
0
| 15446 SUMP PUMPS |  |  |  | 0
0
E | Type PP-3, duplex type | 1 | Nr | 36500 | 36500
0
| 15450 POTABLE WATER STORAGE TANKS |  |  |  | 0
0
F | FRP storage tank 15 m3 capacity | 2 | Nr | 9350 | 18700
0
| 15485 ELECTRIC, DOMESTIC WATER HEATERS |  |  |  | 0
0
G | EWH-1 | 25 | Nr | 360 | 9000
0
H | EWH-2 | 73 | Nr | 450 | 32850
0
| 15736 SELF CONTAINED AIR CONDITIOINING UNITS. |  |  |  | 0
0
I | RAC-1 ( two units are provisional for elevator machine room subject to manufacturer requirments.) | 3 | Nr | 1500 | 4500
0
J | SRAC-1 ( provisional unit for elevator control room). | 1 | Nr | 3500 | 3500
|  | To Collection |  |  | 155600
15852 AXIAL FANS
A | Type EF-1 | 65 | Nr | 200 | 13000
B | Type EF-2 | 75 | Nr | 200 | 15000
C | Type EF-3 | 1 | Nr | 500 | 500
|  | To Collection |  |  | 28500
COLLECTION
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 58070
| Page 4 |  |  |  | 161310
| Page 5 |  |  |  | 155600
| Page 6 |  |  |  | 28500
15 MECHANICAL
| To Building Summary | S.R. |  |  | 403480

## 16 Electrical
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  |  |  | SR | SR
16 ELECTRICAL WORK
16060 GROUNDING AND BONDING
Type TN-S complete, for
A | Distribution panelboards, panelboards, lighting installations and wiring accessories | 1 | Item |  | 0
0
B | Mechanical plant rooms and fixed machinery | 1 | Item |  | 0
16120 CONDUCTORS AND CABLES
Multi-core, copper conductor, XLPE insulated, PVC sheathed feeder cable, unarmoured, rated (0.6/1KV).
C | 4C, 16 mm2 | 5 | m |  | 0
0
D | 4C, 35 mm2 | 1340 | m |  | 0
0
E | 4C, 95 mm2 | 30 | m |  | 0
0
F | 4C, 150 mm2 | 15 | m |  | 0
0
G | 4C, 300 mm2 | 10 | m |  | 0
Single core, copper conductor, PVC insulated (earth conductor), rated 450/750 V
H | 1C, 16 mm2 | 1345 | m |  | 0
0
I | 1C, 50 mm2 | 30 | m |  | 0
0
J | 1C, 70 mm2 | 15 | m |  | 0
0
J | 1C, 150 mm2 | 10 | m |  | 0
0
K | Pair telephone cable | 2100 | m |  | 0
|  | To Collection |  |  | 0
16130 RACEWAYS AND BOXES
Rigid heavy gauge PVC conduits
A | 100 mm dn | 30 | mt |  | 0
0
B | 50 mm dn | 85 | mt |  | 0
0
C | 38 mm dn | 1300 | mt |  | 0
0
D | 25 mm dn | 32 | mt |  | 0
0
| Distribution and draw boxes |  |  |  | 0
0
E | T.V riser distribution draw box, surface galvanized steel | 8 | Nr |  | 0
0
F | T.V distribution box, recessed PVC | 29 | Nr |  | 0
0
| 16139 CABLE TRAYS |  |  |  | 0
0
| Cable trays: galvanized steel |  |  |  | 0
0
G | 150 mm wide | 190 | m |  | 0
0
H | 300 mm wide | 80 | m |  | 0
0
I | 600 mm wide | 30 | m |  | 0
0
J | 900 mm wide | 12 | m |  | 0
0
| Cable trays: galvanized steel with cover |  |  |  | 0
0
H | 300 mm wide | 25 | mt |  | 0
| To Collection |  |  |  | 0
16140 WIRING DEVICES
A | Lighting Outlet | 360 | Nr |  | 0
0
B | Electric outlet for fan | 132 | Nr |  | 0
0
C | Electric outlet for water heater | 100 | Nr |  | 0
0
D | Electric outlet for A/C units | 190 | Nr |  | 0
0
| Switches |  |  |  | 0
0
E | General lighting switch, One way, one gang switch (S1) | 225 | Nr |  | 0
0
F | General lighting switch, One way, two gang switch (S1) | 215 | Nr |  | 0
0
G | Push button switch (S2) | 9 | Nr |  | 0
0
H | Staircase time lag switch | 2 | Nr |  | 0
0
I | One way, one gang switch weatherproof switch (S15) | 2 | Nr |  | 0
0
J | One way, two gang switch weatherproof switch (S15) | 7 | Nr | 100 | 700
0
K | Double pole switch (S20), 20A | 100 | Nr | 17 | 1700
0
L | Double pole switch (S20), 32 A. | 178 | Nr | 25 | 4450
0
M | Double pole switch (S20), 45A. | 12 | Nr | 25 | 300
0
| Socket Outlets |  |  |  | 0
0
N | 15 A, single, type R01 | 410 | Nr | 10 | 4100
0
O | 15 A, duplex, type R01 | 165 | Nr | 18 | 2970
0
P | 13 A, single, type R02 | 220 | Nr | 10 | 2200
|  | To Collection |  |  | 16420
A | 32 A, power socket, weatherproof, type R45 | 54 | Nr | 31 | 1674
0
B | 15 A, single, weatherproof, type R05 | 7 | Nr | 150 | 1050
0
C | 13 A, single, weatherproof, type R15 | 4 | Nr | 150 | 600
0
D | 45 A, cooker control unit | 25 | Nr | 40 | 1000
0
| Other Devices |  |  |  | 0
0
| Door entrance system |  |  |  | 0
0
E | Door bell | 25 | Nr | 60 | 1500
0
F | Door bell push-button | 25 | Nr | 14 | 350
0
| Telephone system |  |  |  | 0
0
G | Telephone outlet | 140 | Nr | 32 | 4480
0
H | Telephone distribution frame (TDF),100 pairs | 1 | Nr | 2000 | 2000
0
I | Telephone distribution box (TDB),5 pairs | 30 | Nr | 200 | 6000
0
| T.V system |  |  |  | 0
0
J | TV outlet | 51 | Nr | 22 | 1122
0
| 16410 ENCLOSED SWITCHES AND CIRCUIT BREAKERS |  |  |  | 0
0
K | disconnect switch 4P, 32 A,weatherproof | 1 | Nr | 400 | 400
0
L | disconnect switch 4P, 63 A,weatherproof | 4 | Nr | 500 | 2000
0
M | disconnect switch 4P, 100 A | 2 | Nr | 650 | 1300
0
N | disconnect switch 4P, 250 A | 2 | Nr | 1250 | 2500
0
O | disconnect switch 4P, 400 A, weatherproof | 1 | Nr | 1700 | 1700
0
P | disconnect switch 2P, 16 A | 1 | Nr | 120 | 120
|  | To Collection |  |  | 27796
16442 PANELBOARDS
Distribution panelboard
A | DP-S-R6 | 1 | Nr | 7500 | 7500
0
| Final branch circuit panelboards |  |  |  | 0
0
B | LP-R6-G | 1 | Nr | 1500 | 1500
0
C | LP-R6-TA | 12 | Nr | 1500 | 18000
0
D | LP-R6-TB | 12 | Nr | 1500 | 18000
0
E | LP-R6-RX | 1 | Nr | 1500 | 1500
0
F | LP-R6-EL1 | 1 | Nr | 1200 | 1200
0
G | LP-R6-EL2 | 1 | Nr | 1200 | 1200
0
| 16482 MOTOR - CONTROL CENTER |  |  |  | 0
0
H | Motor central panel (MCP-U/G) | 1 | Nr | 20000 | 20000
0
| 16511 INTERIOR LIGHTING |  |  |  | 0
0
| Lighting Fixtures |  |  |  | 0
0
I | Type F1 | 50 | Nr | 100 | 5000
0
J | Type F2 | 29 | Nr | 260 | 7540
0
K | Type F3 | 6 | Nr | 320 | 1920
0
L | Type F3 with back up battery | 3 | Nr | 630 | 1890
0
M | Type F4 | 20 | Nr | 320 | 6400
0
N | Type F4 with back up battery | 21 | Nr | 630 | 13230
0
O | Type C1 | 50 | Nr | 340 | 17000
|  | To Collection |  |  | 121880
A | Type C2 | 100 | Nr | 240 | 24000
0
B | Type C12 | 20 | Nr | 950 | 19000
0
C | Type U | 20 | Nr | 330 | 6600
0
D | Type E | 18 | Nr | 430 | 7740
0
E | Type EX | 10 | Nr | 490 | 4900
0
F | Type E1 | 4 | Nr | 1120 | 4480
0
| 16722 INTER COMMUNICATION EQUIPMENT |  |  |  | 0
0
G | Master station with capacity for 30 slave connection with power supply and door release | 1 | Nr | 3000 | 3000
0
H | Slave station | 26 | Nr | 100 | 2600
0
I | Set of spare parts | 1 | Item | 500 | 500
|  | To Collection |  |  | 72820
COLLECTION
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 16420
| Page 4 |  |  |  | 27796
| Page 5 |  |  |  | 121880
| Page 6 |  |  |  | 72820
16 ELECTRICAL WORK
| To Building Summary | S.R. |  |  | 238916

## Summary
SUMMARY
RESIDENTIAL BUILDINGS
AMOUNT
S.R.
2 | SITE CONSTRUCTION | 0
3 | CONCRETE WORKS | 0
4 | MASONRY | 0
5 | METAL WORKS | 0
7 | THERMAL AND MOISTURE PROTECTION | 0
8 | DOORS AND WINDOWS | 0
9 | FINISHES | 0
10 | SPECIALITIES | 0
13 | SPECIAL CONSTRUCTION | 0
14 | CONVERTING SYSTEMS | 0
15 | MECHANICAL | 403480
16 | ELECTRICAL | 0
238916
| TOTAL RESIDENTIAL BUILDINGS | 642396
For One Building

## 10-Special
EXHIBIT C - Part 2: LUMP SUM PRICE BREAKDOWN
Item | Description | Qty | Unit | Rate | Amount
|  | 0 |  | SR | SR
ADDITIONAL ITEMS TO BLOCK NO. 31
10 SPECIALITIES
10200 LOUVERS AND VENTS
Privacy treatment aluminium louvered panels; including fixings; as Drg A/025, detail 8; to
A | Size 1400 x 800 | 48 | Nr |  | 0
ADDITIIONAL ITEMS TO BLOCK NO. 31
| To T6 Building Summary | S.R.